## Overhead Calculator
"nuMOIRCS" Overhead Calculator
Last Update: 2016-01-27
You can change the cells with thin-brown-colored cells with thick frame.
Label (example) | J | H | K | Notes:
Unit Exposure Time [sec] | 75 | 30 | 45 | This is the value for EXPTIME in GETOBJECT command.
NEXPOSURE | 2 | 4 | 3 | This is the number of frames we take at each dither position (similar to"COADDS" option in old system).
NDR Number | 1 | 1 | 1 | NDR is 1 for most imaging observation. You can consider NDR > 1 for NB119 etc for which readnoise could be an issue.
Readout Time[s] | 1.475 | 1.475 | 1.475
Processing etc[s] | 12 | 12 | 12
Unidentified[s] | 0 | 0 | 0 | Occasionally some additional overhead (<5 sec) in the software side is observed. Irregular.
number of dither | 10 | 10 | 10
Dither Time[s] | 10 | 10 | 10 | Dither time is typically 5-15 sec for open tracking, depending on the dither width. For AG observation it will increase to 3-5 times longer.
unidentified on dither | 5 | 5 | 5
Staying time per position | 176.95 | 173.9 | 175.425 | <---Less than 200 sec is recommended for better non-AG guiding.
TOTAL Exposure [sec] | 1500 | 1200 | 1350
Overhead Time [sec] | 404.5 | 674 | 539.25
Total ObsTime [sec] | 1904.5 | 1874 | 1889.25 | Total Obstime
in minutes. | 31.7417 | 31.2333 | 31.4875 | 94.4625 | min
Overhead[%] | 26.9667 | 56.1667 | 39.9444
Efficiency[%] | 78.7608 | 64.0342 | 71.4569
Ndummyread=2 | !!! EXPOSURE should be >21 !!!
Overhead[s] | #REF! | #REF! | #REF!
Total ObsTime | #REF! | #REF! | #REF!
in minutes. | #REF! | #REF! | #REF!
Overhead[%] | #REF! | #REF! | #REF!
Efficiency[%] | #REF! | #REF! | #REF!

## OLD ND2
> DSP内 CDS(リセットリード) 11.79 |  |  |  |  | 11.79 | 11.79
> dum read (ndum=2) 8.55 |  |  |  |  | 8.55 | 8.55
> DSPボード初期化 0.50 |  |  |  |  | 0.5 | 14.74
> DSP内メモリクリア 0.61 |  |  |  |  | 0.61
> wipe(5回) 0.08 |  |  |  |  | 0.08
> 時間データの転送 0.03 |  |  |  |  | 0.03
> PCへの画像データの転送 4.83 |  |  |  |  | 4.83
> PC内 画像の配列格納と反転・回転 1.22 |  |  |  |  | 1.22
> その他もろもろ <0.50 (推定) |  |  |  |  | 0.5
> FITS生成やSOSSとの通信 6.47～6.97(推定) |  |  |  |  | 6.97
35.08
#以上を考慮したオーバーヘッド計算
MOIRCS Overhead Calculator |  |  |  | Last Update: 2011-01-14
| J | H | K
Exposure Time 1[sec] | 180 | 30 | 50 |  | * must be >21sec for Ndummread=2 (or >13sec for Ndum=0)
Coadds | 1 | 4 | 3
Nexposure | 1 | 1 | 1
Readout Time[s] | 11.8 | 11.8 | 11.8
DSP Transfer[s] | 11.5 | 11.5 | 11.5 |  | * 14.75 before May17
Dither Time[s] | 10 | 10 | 10
Unidentified[s] | 0 | 0 | 0
Dummyread(NDUM2) | 8.55 | 8.55 | 8.55
Staying time per position | 203.3 | 178.7 | 196.9 |  | <---Less than 200 sec is recommended.
number of dither | 7 | 23 | 13
unidentified on dither | 9 | 9 | 9 |  | * This value is between 5-10
Ndummyread=0 [Usual Case]
Overhead[sec] | 277.1 | 1768.1 | 837.7
TOTAL Exposure [sec] | 1260 | 2760 | 1950
Total ObsTime [sec] | 1463.3 | 4528.1 | 2787.7
in minutes. | 24.3883 | 75.4683 | 46.4617
Overhead[%] | 16.1349 | 64.0616 | 42.959
Efficiency[%] | 86.1067 | 60.9527 | 69.9501
Ndummyread=2 | !!! EXPOSURE should be >21 !!!
Overhead[s] | 336.95 | 2554.7 | 1171.15
Total ObsTime | 1596.95 | 5314.7 | 3121.15
in minutes. | 26.6158 | 88.5783 | 52.0192 |  | 172.2133 | 2.8702 | hr
Overhead[%] | 26.7421 | 92.5616 | 60.059
Efficiency[%] | 78.9004 | 51.9314 | 62.477